## Slide 1
A superconducting magnetic trap for cold particles
Yair Segev
Ed Narevicius group
MICE conference 2019

## Slide 2: Cooling to the Ultracold
Oven source
Trapping & laser cooling
Evaporative cooling
Zeeman (optical)
slowing
Warm
Cold
Ultracold
Notes: This is a typical BEC scheme for atoms, though there are many variations nowadays.
You start by emitting hot atoms from some effusive source, such as an over. If they are light and fast you slow them down by scattering photons in a Zeeman slower, and trap them using some configuration of magnetic, electric or optical fields. Here you cool them to, say, a millikelvin. Finally, if your density is sufficient and you’re lucky enough that your elastic collision rate is high enough, you gradually evaporate the hotter portions out of your trap and remain with a condensate.
This works great for many atom species. Unfortunately, with most molecules optical cooling (and slowing) or not really an option, ad the chances of scattering many thousands of photons without falling into a different “dark” rovibrational state is very poor. Some of our brave colleagues and competitors such as Jun Ye, Dave DeMille and Mike Tarbott are doing exactly that with some of the few known molecules that do have a chance of this, but there remains a risk that these species will not have the characteristics required for evaporation.
We envision a method which can be applicable to many molecular species. So, we will avoid direct laser cooling or slowing.
The main components, all three of which I will talk about, are a source – a supersonic nozzle; an adiabatic slower which works on time-varying magnetic fields, and a deep magnetic trap for the final stages.

## Slide 3: The challenge of cooling molecules
Simple atoms
Typical molecules
Candidate molecules:
SrF, YbF, CaF,
SrOH,
YO,
BaH
Assembly from laser cooled atoms:
KRb, Cs2, NaK, NaLi, (Feshbach)
Sr2… (photo-association)

## Slide 4: Masterplan for cooling (paramagnetic) molecules
Expansion cooling
Magnetic slowing
Evaporation

## Slide 5: Masterplan for cooling (paramagnetic) molecules
Step 1: Expansion cooling

## Slide 6: Supersonic expansion cooling
Simple and general
High densities (~1015 cm-3)
Low temperatures (<1K)
Gas source
chamber
Vacuum
chamber
Notes:   We’ll start briefly with the source. Supersonic expansion is a fancy name for letting a stagnant gas out into vacuum. If the source pressure is sufficiently high, collisions between particles as they pass through a nozzle will lead to a narrow velocity distribution, on the order of 1K. Here is a typical velocity distribution within a nozzle, and the final distribution in vaccuum. The method is simple, general,…
  Our valves, designed by Uzi Even of Tel Aviv, shoot 10^16 particles in pulses of tens of microseconds, so their momentary flux of cold molecules is very high compared to CW beams, themselves much higher than effusive sources.

## Slide 7: Masterplan for cooling molecules
Step 2: Magnetic slowing

## Slide 8: Adiabatic magnetic deceleration
Magnetic Field Magnitude
Distance
High initial beam velocities:
300-2000 m/s
Goal:
Slow beam to trappable velocity without significant heating or density loss

## Slide 9
Δt1 < Δt2
Propagation axis
Current
Trap 1
Trap 2
Trap 3
t
Magnetic Field Magnitude
Distance
Adiabatic magnetic deceleration
Notes: Overlap between the pulses must be increased, by making the pulse duration and the pulse-to pulse time difference longer .

## Slide 10
480 overlapping traps
Pulsed currents ~ 500A
3 meters long
Deceleration of
a ~ -3000 g
t
I
Source chamber
Detection
chamber
Overlapping traps
Switching electronics
Actual setup
See poster by Michael Karpov
Notes: NOT BENT!

## Slide 11: Trapping
N. Akerman et al, PRL 2017
Permanent magnets trap
Ionization via REMPI
Ion counter
Ion
extraction
B

## Slide 12: Trapping
For collisions, we want:
Longer trapping lifetime
Tunable trapping
gradient (~1T/mm)
We need better magnets
N. Akerman et al, PRL 2017

## Slide 13: Superconducting coils
L[ow] T[emperature] S[uperconductors]
  Tc<20K
  Metal alloy wires (flexible)
  Need to switch 1T field in
  500 microseconds
  Poor AC response = quench

## Slide 14: Superconducting coils
L[ow] T[emperature] S[uperconductors]
  Tc<20K
  Metal alloy wires (flexible)
  Poor AC response
H[igh] TS
  Tc>77K
  Cuprate ceramic tapes (fragile)
  Robust (pulsing, temperature)

## Slide 15: Superconducting trap
Notes: To create high magnetic field gradients in our tiny trap requires a current density of hundreds of A/mm^2, 1-2 orders of magnitude above the rating of a relevant Cu wire. So we chose to build a trap using a superconducting wire which wind into coils that can carry 1000A/mm^2. This is the bare coil, our very first one, and here we have glued it to sapphire holders. The trap will be two such coils with countercurrents, with a ferromagnetic disc between them. BTW, Using such a coil has a nice advantageous side-effect: the wire is a Low TC superconductor (NbTi), so we use a 4K pulse-tube cryostat to keep it superconducting. This cryostat also improves our vacuum by 2 orders of magnitude, which should give us the lifetime we need.

## Slide 16: Superconducting trap
Trapping (30A)
Notes: So what can this trap give us? So running it at 10% of the superconductor’s critical current already gives us a trap of 0.5K that matches the decelerator’s traps – you see it here as the oval in the center of the coil.

## Slide 17: Superconducting trap
Compression (200A)
Gradient increase a=6
Collision rate increase a4/3=10
Notes: If we ramp it up the gradient increases by a factor of 6 or so. This means that the density is increased, and more importantly, the collision frequency is increased by an order of magnitude, and should now be on the order of tens of Hz, well within even our current lifetime.

## Slide 18: Superconducting trap
Compression (200A)
Gradient increase a=6
Collision rate increase a4/3=10
Notes: If we ramp it up the gradient increases by a factor of 6 or so. This means that the density is increased, and more importantly, the collision frequency is increased by an order of magnitude, and should now be on the order of tens of Hz, well within even our current lifetime.

## Slide 19: Integration with decelerator
300 K
40 K
15 K

## Slide 20: Challenge 1: Miniaturization

## Slide 22: Challenge 2: Current kicking & flipping

## Slide 27: Challenge 3: Thermal contraction & warping

## Slide 28
UHV-compatible PCB
300K
40K
15K

## Slide 29: VelociTraptor assembled!

## Slide 30
4K Cryocooler
Decelerated molecules
Detection laser
PhD student
Ninja
Supervisor
Trap center

## Slide 31: Results
Significant amount of O2 trapped for >90s!
0.01s
1s
5s
3s
dn/dt~-n

## Slide 32: Results
dn/dt~-n2
First direct observation of cold bimolecular collisions in a trap, without laser cooling
Yair Segev*, Martin Pitzer*, Michael Karpov* et al.
Nature, 2019

## Slide 33: Lithium and oxygen mixture

## Slide 34: Masterplan for cooling (paramagnetic) molecules
Expansion cooling
Magnetic slowing
Evaporation

## Slide 35: Evaporative cooling in a magnetic trap
Energy distribution
Good: elastic collisions
Bad: inelastic collisions, background collisions

## Slide 36: Slicing the trap
good/bad~ 6


## Slide 37: Cross-sections and losses
t2B @ edge / t2B @ center
selastic / sinelastic
good/bad~ 6
~ Uniform decay
 Inelastic losses dominate
Decay faster at edge
 Evaporative losses dominate

## Slide 38: What’s next?
Load superconducting trap
  (If that works…)
Measure collisions
  (If the elastic/in-elastic ratio is favorable…)
Evaporate
It works!
 … for 16O2
We did!
Search for a better candidate: 17O2, 16O18O, NH, NH2, CH3,…
Notes: So where do we go from here?
…
I don’t know if I’ve convinced you that we will make a molecular BEC. Hell, there are days I’m skeptical. But what I really hoped to convince you is that we have a lot of fun and a lot of challenges. And the reason I emphasize this is because this is what a was man promised me when he convinced me to go to a PhD, when we met for a noce steak dinner in Argentina. And by now I’m sure that hyou can all guess who this man was..

## Slide 39: Next Generation Decelerator
~ 3 m
~ 6 m
  Other candidate gases: NH/NH2
   larger initial velocity

## Slide 40
Ed
Narevicius
Martin
Pitzer
Nitzan
Akerman
Michael
Karpov
Julia Narevicius
Idan
Yair
Segev