## Slide 1: Deep-Neural-Network-based atomic absorption image denoising
Gal Ness, Sagi group
Physics Department, Technion IIT
absDL

## Slide 2
Prof. Yoav Sagi
Kostya Shkedrov
Yanay
Florsheim
Anastasiya
Vainbaum
Meny
Menashes
Dr. Jonathan Nemirosky
Yigal Ilin
Dr. Amit Stern
Oded
Zilberman

## Slide 3: Experiments with ultracold quantum degenerate Fermi gas

## Slide 4: Rf and Raman Spectroscopy of a Degenerate Fermi Gas
C. Shkedrov, Y. Florshaim, GN, A. Gandman
and Y. Sagi, Phys. Rev. Lett. 121 (9), 093402
C. Shkedrov , GN, Y. Florshaim and Y. Sagi, arXiv:1909.12141 (2019)
fit to

## Slide 5: Probing the Attractive Polaron in a Degenerate Fermi Gas Using Raman Spectroscopy
Schirotzek et al., Phys. Rev. Lett. 102, 230402 (2009)

## Slide 6: Highly non-adiabatic optical transfer of ultracold atoms
original
corrected
GN, C. Shkedrov, Y. Florshaim and Y. Sagi, New J. Phys. 20 095002 (2018)

## Slide 7: Deep-Neural-Network-based atomic absorption image denoising

## Slide 8: Goal
Use Deep-Neural-Network feature extraction ability to mitigate noise in atomic absorption images

## Slide 9: Outline
3. absDL
1. Absorption imaging
2. AI, ML, CNN, DNN

## Slide 10: Atomic absorption imaging
and the science of fringe patterns

## Slide 11: Dilute gases thermometry

## Slide 12: Absorption imaging
atoms
vacuum chamber

## Slide 13: Absorption imaging
Atoms frame
Reference frame

## Slide 14: Absorption imaging
Atoms frame
Reference frame
0.1
0.45
-0.25
1.75

## Slide 15: Quantifying fringes effect on synthetic data
-0.25
0.25
-0.25
1.25

## Slide 16: Quantifying fringes effect on synthetic data
1. Absorption imaging thermometry is noise sensitive

## Slide 17: Fringe patterns
-0.25
1.75

## Slide 18: Fringe patterns
-0.25
0.25

## Slide 19: Fringe patterns

## Slide 20: Fringe patterns

## Slide 21: Fringe patterns

## Slide 22: Fringe patterns
2. Spatial correlations are useful

## Slide 23: Fringe patterns
Reference frame
PCA
Niu et al., Optimized fringe removal algorithm for
absorption images, Appl. Phys. Lett. 113, 144103 (2018)
Masked reference

## Slide 24: Fringe patterns
Atoms frame
Masked atoms
PCA
Niu et al., Optimized fringe removal algorithm for
absorption images, Appl. Phys. Lett. 113, 144103 (2018)
Ideal reference

## Slide 25: Principal component analysis results
-0.25
0.6
Original OD
Denoised

## Slide 26: PCA results after a while
-0.25
0.6
Original OD
“Denoised”
3. Long-term temporal correlations are not guaranteed

## Slide 27: Absorption imaging
3. Long-term temporal correlations are not guaranteed
2. Spatial correlations are useful
1. Absorption imaging thermometry is noise sensitive

## Slide 28: Absorption imaging
Wanted: adaptable pattern extraction tool

## Slide 29: Objectives
Reduce physical observables uncertainties
Avoid systematic errors
Run fast
Enable single-shot absorption imaging?

## Slide 30: Machine Learning?
Touring the 2019 zoo of AI

## Slide 31: Nomenclature
  A program that can sense, reason, act, and adapt
Artificial intelligence (AI)
  Not explicitly-programmed algorithms that improve by exposure to data
Machine learning (ML)
  Regularized versions of multilayer perceptrons
Convolutional Neural Networks (CNNs)
Deep NN (DNNs)

## Slide 32: NN principle
Extract abstract features from input data by a series of non-linear operations
is dog?
0

## Slide 33: NN principles
Perceptron
inputs
weights
sum
activation
output

## Slide 34: CNN principles
convolution
kernels
+activation

## Slide 35: CNN principles
pooling
kernels
convolution
+activation

## Slide 36: CNN training
kernels
convolution +activation + pooling
is dog?
0.5
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
back propagation
loss

## Slide 37: CNN training
kernels
convolution +activation + pooling
is dog?
0.4
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
back propagation
loss

## Slide 38: CNN training
kernels
convolution +activation + pooling
is dog?
0.2
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
back propagation
loss

## Slide 39: CNN training
kernels
convolution +activation + pooling
is dog?
0.02
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
back propagation
loss

## Slide 40: CNN training
kernels
convolution +activation + pooling
is dog?
0.001
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
back propagation
loss

## Slide 41: CNN training
kernels
convolution +activation + pooling
is dog?
0.000001
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
convolution +activation + pooling
back propagation
loss

## Slide 42: State of the art

## Slide 43: Absorption image DNN denoising
Deep-learning against fringes
absDL

## Slide 44: Training stage
OD image
Masked OD
Image completion

## Slide 45: Evaluation stage
OD image
Masked OD
Image completion

## Slide 46: Current architecture
loss
skip links
Ronneberger et al., U-Net: Convolutional Networks
for Biomedical Image Segmentation, arXiv:1505.04597
contraction
more “what”
less “where”
expansion

## Slide 47: Current architecture
loss
9,120,673 trainable parameters

## Slide 48: Random cropping on 12k dual-image dataset

## Slide 49: Learning process
-0.15
0.15
Model input
Model output
Difference
-
epoch 1
epoch 10
epoch 30
epoch 190
training

## Slide 50
Model input
Model output
Difference
-
-0.15
0.25

## Slide 51: Effect on physical observables
PRELIMINARY
RESULTS

## Slide 52: Next steps: Single shot imaging
Use pre-captured Reference
Complete the Atoms image directly
1
2

## Slide 53: Evaluate ideal reference at your lab
The model (will soon be) available on:
absDL.github.io
absDL

## Slide 54: Summary
Absorption image denoising requires adaptable solution
U-Net based architecture provides robust results
Outlook: generalization, single shot

## Slide 55: Thank you!
Questions?

## Slide 56: Outline